E.O. VR-203/204

Veeder-Root Vapor Polisher Hydrocarbon Emissions Test Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | VST: |  |
|  | Veeder-Root: |  |
| Pre-Test Parameters | Test Result |
| Was the vapor polisher load <80%? |  |
| Was Exhibit 11 conducted and passed? |  |

| HYDROCARBON ANALYZER CALIBRATION CHECK |
| --- |
| Hydrocarbon analyzer zero check reading |  |
| Hydrocarbon analyzer calibration check reading |  |
| Is the zero check reading < 0.1% by volume? |  |
| Is the calibration check reading between 0.8% and 1.0% by volume? |  |

| HYDROCARBON EMISSIONS TEST |
| --- |
| Starting inlet test gas flow rate (scfh) |  |
| Ending inlet test gas flow rate (scfh) |  |
| Hydrocarbon reading at 3 minutes (ppmv) |  |
| Hydrocarbon reading at 4 minutes (ppmv) |  |
| Hydrocarbon reading at 5 minutes (ppmv) |  |
| Hydrocarbon reading at 6 minutes (ppmv) |  |
| Is the hydrocarbon concentration < 9000 ppmv for all readings? |  |

NOTES:	1The hydrocarbon concentration must be less than 9000 ppmv for all readings otherwise the vapor polisher is not in compliance.

2Three-way valve must be returned to normal (open) operating position after testing is completed.

3The PMC vapor mode must be reset to automatic after testing is completed.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________