ARID Technologies AT-150 Permeator Compliance Test Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | ARID Permeator Tech: |  |

| CALIBRATION GAS CONCENTRATION (% PROPANE BY VOLUME)1 |
| --- |
| Zero Gas: Serial #: | High-Range Gas: Serial #: | Low-Range Gas: Serial #: |
| Hydrocarbon Analyzer: | Make: | Model: |

| HYDROCARBON ANALYZER CALIBRATION CHECK |
| --- |
| Hydrocarbon analyzer zero check reading: |  |
| Is the zero check reading < 0.1% propane? |  |
| Hydrocarbon analyzer high-range gas calibration check reading: |  |
| Is the high-range gas calibration check reading between 5% and 10% propane? |  |
| Hydrocarbon analyzer low-range gas calibration check reading |  |
| Is the low-range gas calibration check reading between 2% and 4% propane? |  |

| ARID PERMEATOR EMISSIONS TEST2 |
| --- |
| Inlet test gas flow rate (scfh) |  |
| Hydrocarbon reading at 10 minutes run time (%) |  |
| Hydrocarbon reading at 15 minutes run time (%) |  |
| Hydrocarbon reading at 20 minutes run time (%) |  |
| Hydrocarbon reading at 25 minutes run time (%) |  |
| Hydrocarbon reading at 30 minutes run time (%) |  |
| Average hydrocarbon reading (%) |  |
| Is the average hydrocarbon reading ≤ 3.0%? |  |
| Pass/Fail |  |

NOTES:	1Attach calibration gas certification information to this form.

2Sampling must be conducted through one continuous 40-minute processor run cycle with 5 measurements taken 5 minutes apart beginning 10 minutes after processor ON.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________