E.O. VR-203/204

Hydrocarbon Sensor Verification Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | VST: |  |
|  | Veeder-Root: |  |

| CALIBRATION GAS CONCENTRATION (% PROPANE)1,2 |
| --- |
| Zero gas (<0.25%): | Mid-range gas (2-5%): | High-range gas (10-14%): |
| Serial No.: | Serial No.: | Serial No.: |

| Start Time | Stop Time | Calibration Gas Concentration | Average HC Concentration from PMC | Percent Difference3 | Pass / Fail (pass = (1.0%) |
| --- | --- | --- | --- | --- | --- |

NOTES:	1The calibration gases must be certified to an analytical accuracy of (2%, traceable to a NIST approved reference material.

2Documentation of certification must be maintained with the gas cylinders at all times and must be submitted to the District with this form.

3Calibration gas concentration – average HC concentration from PMC.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________