E.O. VR-203/204

Vapor Pressure Sensor Verification Test & VST Processor Activation Pressure Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | VST: |  |
|  | Veeder-Root: |  |

| TEST INFORMATION |
| --- |
| Pressure sensor located at dispenser number(s) |  |
| Pressure sensor serial number |  |
| Calibration date for digital manometer (must be within 12 months of the test) |  |
| Ending value for digital manometer drift test (must be 0.01 in. w.c. or less) |  |

| VAPOR PRESSURE SENSOR UST PRESSURE TEST |
| --- |
| UST pressure from digital manometer (in. w.c.) |  |
| Pressure sensor value from TLS-350/450 (in. w.c.) |  |
| Is Pressure Value Between -0.20 and +0.20 in. w.c.? |  |

| VAPOR PRESSURE SENSOR AMBIENT REFERENCE TEST1,2 |
| --- |
| Non-calibrated pressure sensor value from TLS-350/450 (in. w.c.) |  |
| Is pressure value between -0.20 and +0.20 in. w.c.? |  |

| VST PROCESSOR ACTIVATION PRESSURE TEST1,2 |
| --- |
| VST processor activation pressure (in. w.c.) |  |
| Is the VST processor activation pressure ( 0.4 in. w.c.? |  |

NOTES:	1Valve must be returned to normal operating position after testing is completed.

2The ambient reference port cap must be in place after testing is completed.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________