TP 201.3

UST Static Pressure Performance Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: |  |

| TEST INFORMATION |
| --- |
| Total number of nozzles: | Are the tanks manifolded? Yes No |
| Phase I vapor recovery system executive order (as referenced on Permit to Operate) |  |
| Phase II vapor recovery system executive order (as referenced on Permit to Operate) |  |
| Nitrogen introduction point | Phase I vapor coupler | Phase II vapor riser |
| Pressure measuring device | incline manometer | digital manometer | mechanical gauge |
| Calibration date for pressure measuring device (must be within 90 days of the test) |  |
| Ending value for digital manometer drift test if applicable (must be 0.01 in. w.c. or less) |  |
| Initial tank ullage pressure (vent if over 0.5 in. w.c.) |  |
| Nitrogen introduction flow rate, F (must be between 1 and 5 CFM) |  |
| Calculated ullage fill-time, t2 (t2 = V / 1522 x F) |  |
| Actual fill-time |  |
| Number of hoses with over 100 ml (balance hoses must be drained prior to testing) |  |

| TANK INFORMATION |
| --- |
| Tank No. | 1 | 2 | 3 | 4 | ALL |
| Product grade |  |  |  |  |  |
| Actual tank capacity (gallons) |  |  |  |  |  |
| Gasoline volume (gallons) |  |  |  |  |  |
| Ullage, V (gallons) |  |  |  |  |  |
| If tanks are not manifolded, number of nozzles |  |  |  |  |  |

| 2 IN. W.C. STATIC PRESSURE TEST |
| --- |
| Test No. | 1 | 2 | 3 | 4 | 5 |
| Start time |  |  |  |  |  |
| Initial Pressure, inches of water column (in. w.c.) |  |  |  |  |  |
| Pressure at one minute, in. w.c. |  |  |  |  |  |
| Pressure at two minutes, in. w.c. |  |  |  |  |  |
| Pressure at three minutes, in. w.c. |  |  |  |  |  |
| Pressure at four minutes, in. w.c. |  |  |  |  |  |
| Pressure at five minutes, in. w.c. |  |  |  |  |  |
| Allowable minimum pressure, in. w.c. |  |  |  |  |  |
| Pass / Fail (enter “GF” for gross failure) |  |  |  |  |  |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________