E.O. VR-202

INCON In-Station Diagnostics Dispenser Shutdown Mapping Verification Test & Vapor Flow Meter V/L Check Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: |  |

| DISPENSER SHUTDOWN MAPPING VERIFICATION TEST |
| --- |
| Dispenser fueling point numbers | FP: | FP: |
|  | Test Result (Y/N) |
| Dispenser was shutdown? |  |
| Fuel was unable to be dispensed from fueling points associated with the dispenser? |  |
| Dispenser was re-enabled? |  |
| Fuel can be dispensed from fueling points associated with the dispenser? |  |

| VAPOR FLOW METER V/L CHECK |
| --- |
| Vapor flow meter serial number |  |
| Dispenser fueling point numbers | FP: | FP: |
| Low grade V/L result #1 |  |  |
| ISD V/L value #1 |  |  |
| Difference between V/L result #1 and ISD V/L value #1 (V/L – ISD V/L) |  |  |
| Pass / Fail (Pass = difference within ±0.15), if fail continue |  |  |
| Low grade V/L result #2 |  |  |
| Low grade V/L result #3 |  |  |
| Average of 3 V/L results |  |  |
| ISD V/L value #2 |  |  |
| ISD V/L value #3 |  |  |
| Average of 3 ISD V/L results |  |  |
| Difference between Average V/L and Average ISD V/L values |  |  |
| Pass / Fail (Pass = difference within ±0.15) |  |  |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________

| DISPENSER SHUTDOWN MAPPING VERIFICATION TEST |
| --- |
| Dispenser fueling point numbers | FP: | FP: |
|  | Test Result (Y/N) |
| Dispenser was shutdown? |  |
| Fuel was unable to be dispensed from fueling points associated with the dispenser? |  |
| Dispenser was re-enabled? |  |
| Fuel can be dispensed from fueling points associated with the dispenser? |  |

| VAPOR FLOW METER V/L CHECK |
| --- |
| Vapor flow meter serial number |  |
| Dispenser fueling point numbers | FP: | FP: |
| Low grade V/L result #1 |  |  |
| ISD V/L value #1 |  |  |
| Difference between V/L result #1 and ISD V/L value #1 (V/L – ISD V/L) |  |  |
| Pass / Fail (Pass = difference within ±0.15), if fail continue |  |  |
| Low grade V/L result #2 |  |  |
| Low grade V/L result #3 |  |  |
| Average of 3 V/L results |  |  |
| ISD V/L value #2 |  |  |
| ISD V/L value #3 |  |  |
| Average of 3 ISD V/L results |  |  |
| Difference between Average V/L and Average ISD V/L values |  |  |
| Pass / Fail (Pass = difference within ±0.15) |  |  |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in the document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________